## Sheet1
TCHWRet | hva_reaChiWatSys_TCHW_sup_y
TCHWSup | hva_reaChiWatSys_TCHW_ret_y
TZon[10] | hva_floor2_reaZonWes_TZon_y
TZon[11] | hva_floor3_reaZonCor_TZon_y
TZon[12] | hva_floor3_reaZonSou_TZon_y
TZon[13] | hva_floor3_reaZonEas_TZon_y
TZon[14] | hva_floor3_reaZonNor_TZon_y
TZon[15] | hva_floor3_reaZonWes_TZon_y
TZon[1] | hva_floor1_reaZonCor_TZon_y
TZon[2] | hva_floor1_reaZonSou_TZon_y
TZon[3] | hva_floor1_reaZonEas_TZon_y
TZon[4] | hva_floor1_reaZonNor_TZon_y
TZon[5] | hva_floor1_reaZonWes_TZon_y
TZon[6] | hva_floor2_reaZonCor_TZon_y
TZon[7] | hva_floor2_reaZonSou_TZon_y
TZon[8] | hva_floor2_reaZonEas_TZon_y
TZon[9] | hva_floor2_reaZonNor_TZon_y
boil_power | hva_reaHotWatSys_reaPBoi_y
chiller_power | hva_reaChiWatSys_reaPChi_y
condenser_chilled_water_pump_power
floor1_ahu_coil_val_pos | hva_floor1_reaAhu_yCooVal_y
floor1_ahu_dis_T | hva_floor1_reaAhu_TSup_y
floor1_ahu_dis_mflow | hva_floor1_reaAhu_V_flow_sup_y | Not it's volume flow rate not mass flow rate
floor1_ahu_fre_damper_pos
floor1_ahu_fre_mflow | hva_floor1_reaAhu_V_flow_OA_y | Not it's volume flow rate not mass flow rate
floor1_ahu_mix_T | hva_floor1_reaAhu_TMix_y
floor1_ahu_ret_T | hva_floor1_reaAhu_TCooCoiRet_y
floor1_ahu_return_fan_power
floor1_ahu_supply_fan_power | hva_floor1_reaAhu_PFanTot_y | Not total fan power not seperated
floor1_dis_T_set | hva_floor1_reaAhu_TSup_set_y
floor1_fan_spe
floor1_mix_T_set
floor1_pressure_set | hva_floor1_reaAhu_dp_sup_y | No dp setpoint but measurement
floor1_valve_pos
floor1_vav1_cooling_set | hva_floor1_reaZonCor_TRoo_Coo_set_y
floor1_vav1_damper_pos | hva_floor1_reaZonCor_yDam_y
floor1_vav1_dis_T | hva_floor1_reaZonCor_TSup_y
floor1_vav1_dis_mflow | hva_floor1_reaZonCor_V_flow_y
floor1_vav1_dis_mflow_ratio
floor1_vav1_flow_set | hva_floor1_reaZonCor_V_flow_set_y
floor1_vav1_heating_set | hva_floor1_reaZonCor_TRoo_Hea_set_y
floor1_vav1_rehea_val_pos | hva_floor1_reaZonCor_yReheaVal_y
floor1_vav2_cooling_set | hva_floor1_reaZonSou_TRoo_Coo_set_y
floor1_vav2_damper_pos | hva_floor1_reaZonSou_yDam_y
floor1_vav2_dis_T | hva_floor1_reaZonSou_TSup_y
floor1_vav2_dis_mflow | hva_floor1_reaZonSou_V_flow_y
floor1_vav2_dis_mflow_ratio
floor1_vav2_flow_set | hva_floor1_reaZonSou_V_flow_set_y
floor1_vav2_heating_set | hva_floor1_reaZonSou_TRoo_Hea_set_y
floor1_vav2_rehea_val_pos | hva_floor1_reaZonSou_yReheaVal_y
floor1_vav3_cooling_set | hva_floor1_reaZonEas_TRoo_Coo_set_y
floor1_vav3_damper_pos | hva_floor1_reaZonEas_yDam_y
floor1_vav3_dis_T | hva_floor1_reaZonEas_TSup_y
floor1_vav3_dis_mflow | hva_floor1_reaZonEas_V_flow_y
floor1_vav3_dis_mflow_ratio
floor1_vav3_flow_set | hva_floor1_reaZonEas_V_flow_set_y
floor1_vav3_heating_set | hva_floor1_reaZonEas_TRoo_Hea_set_y
floor1_vav3_rehea_val_pos | hva_floor1_reaZonEas_yReheaVal_y
floor1_vav4_cooling_set | hva_floor1_reaZonNor_TRoo_Coo_set_y
floor1_vav4_damper_pos | hva_floor1_reaZonNor_yDam_y
floor1_vav4_dis_T | hva_floor1_reaZonNor_TSup_y
floor1_vav4_dis_mflow | hva_floor1_reaZonNor_V_flow_y
floor1_vav4_dis_mflow_ratio
floor1_vav4_flow_set | hva_floor1_reaZonNor_V_flow_set_y
floor1_vav4_heating_set | hva_floor1_reaZonNor_TRoo_Hea_set_y
floor1_vav4_rehea_val_pos | hva_floor1_reaZonNor_yReheaVal_y
floor1_vav5_cooling_set | hva_floor1_reaZonWes_TRoo_Coo_set_y
floor1_vav5_damper_pos | hva_floor1_reaZonWes_yDam_y
floor1_vav5_dis_T | hva_floor1_reaZonWes_TSup_y
floor1_vav5_dis_mflow | hva_floor1_reaZonWes_V_flow_y | Discharge air flowrate in m3/s
floor1_vav5_dis_mflow_ratio |  | No such measurement in wrapped model
floor1_vav5_flow_set | hva_floor1_reaZonWes_V_flow_set_y
floor1_vav5_heating_set | hva_floor1_reaZonWes_TRoo_Hea_set_y
floor1_vav5_rehea_val_pos | hva_floor1_reaZonWes_yReheaVal_y
floor2_ahu_coil_val_pos | hva_floor2_reaAhu_yCooVal_y
floor2_ahu_dis_T | hva_floor2_reaAhu_TSup_y
floor2_ahu_dis_mflow | hva_floor2_reaAhu_V_flow_sup_y | Not it's volume flow rate not mass flow rate
floor2_ahu_fre_damper_pos
floor2_ahu_fre_mflow | hva_floor2_reaAhu_V_flow_OA_y | Not it's volume flow rate not mass flow rate
floor2_ahu_mix_T | hva_floor2_reaAhu_TMix_y
floor2_ahu_ret_T | hva_floor2_reaAhu_TCooCoiRet_y
floor2_ahu_return_fan_power
floor2_ahu_supply_fan_power | hva_floor2_reaAhu_PFanTot_y | Not total fan power not seperated
floor2_dis_T_set | hva_floor2_reaAhu_TSup_set_y
floor2_fan_spe
floor2_mix_T_set
floor2_pressure_set | hva_floor2_reaAhu_dp_sup_y | No dp setpoint but measurement
floor2_valve_pos
floor2_vav1_cooling_set | hva_floor2_reaZonCor_TRoo_Coo_set_y
floor2_vav1_damper_pos | hva_floor2_reaZonCor_yDam_y
floor2_vav1_dis_T | hva_floor2_reaZonCor_TSup_y
floor2_vav1_dis_mflow | hva_floor2_reaZonCor_V_flow_y
floor2_vav1_dis_mflow_ratio
floor2_vav1_flow_set | hva_floor2_reaZonCor_V_flow_set_y
floor2_vav1_heating_set | hva_floor2_reaZonCor_TRoo_Hea_set_y
floor2_vav1_rehea_val_pos | hva_floor2_reaZonCor_yReheaVal_y
floor2_vav2_cooling_set | hva_floor2_reaZonSou_TRoo_Coo_set_y
floor2_vav2_damper_pos | hva_floor2_reaZonSou_yDam_y
floor2_vav2_dis_T | hva_floor2_reaZonSou_TSup_y
floor2_vav2_dis_mflow | hva_floor2_reaZonSou_V_flow_y
floor2_vav2_dis_mflow_ratio
floor2_vav2_flow_set | hva_floor2_reaZonSou_V_flow_set_y
floor2_vav2_heating_set | hva_floor2_reaZonSou_TRoo_Hea_set_y
floor2_vav2_rehea_val_pos | hva_floor2_reaZonSou_yReheaVal_y
floor2_vav3_cooling_set | hva_floor2_reaZonEas_TRoo_Coo_set_y
floor2_vav3_damper_pos | hva_floor2_reaZonEas_yDam_y
floor2_vav3_dis_T | hva_floor2_reaZonEas_TSup_y
floor2_vav3_dis_mflow | hva_floor2_reaZonEas_V_flow_y
floor2_vav3_dis_mflow_ratio
floor2_vav3_flow_set | hva_floor2_reaZonEas_V_flow_set_y
floor2_vav3_heating_set | hva_floor2_reaZonEas_TRoo_Hea_set_y
floor2_vav3_rehea_val_pos | hva_floor2_reaZonEas_yReheaVal_y
floor2_vav4_cooling_set | hva_floor2_reaZonNor_TRoo_Coo_set_y
floor2_vav4_damper_pos | hva_floor2_reaZonNor_yDam_y
floor2_vav4_dis_T | hva_floor2_reaZonNor_TSup_y
floor2_vav4_dis_mflow | hva_floor2_reaZonNor_V_flow_y
floor2_vav4_dis_mflow_ratio
floor2_vav4_flow_set | hva_floor2_reaZonNor_V_flow_set_y
floor2_vav4_heating_set | hva_floor2_reaZonNor_TRoo_Hea_set_y
floor2_vav4_rehea_val_pos | hva_floor2_reaZonNor_yReheaVal_y
floor2_vav5_cooling_set | hva_floor2_reaZonWes_TRoo_Coo_set_y
floor2_vav5_damper_pos | hva_floor2_reaZonWes_yDam_y
floor2_vav5_dis_T | hva_floor2_reaZonWes_TSup_y
floor2_vav5_dis_mflow | hva_floor2_reaZonWes_V_flow_y | Discharge air flowrate in m3/s
floor2_vav5_dis_mflow_ratio |  | No such measurement in wrapped model
floor2_vav5_flow_set | hva_floor2_reaZonWes_V_flow_set_y
floor2_vav5_heating_set | hva_floor2_reaZonWes_TRoo_Hea_set_y
floor2_vav5_rehea_val_pos | hva_floor2_reaZonWes_yReheaVal_y
floor3_ahu_coil_val_pos | hva_floor3_reaAhu_yCooVal_y
floor3_ahu_dis_T | hva_floor3_reaAhu_TSup_y
floor3_ahu_dis_mflow | hva_floor3_reaAhu_V_flow_sup_y | Not it's volume flow rate not mass flow rate
floor3_ahu_fre_damper_pos
floor3_ahu_fre_mflow | hva_floor3_reaAhu_V_flow_OA_y | Not it's volume flow rate not mass flow rate
floor3_ahu_mix_T | hva_floor3_reaAhu_TMix_y
floor3_ahu_ret_T | hva_floor3_reaAhu_TCooCoiRet_y
floor3_ahu_return_fan_power
floor3_ahu_supply_fan_power | hva_floor3_reaAhu_PFanTot_y | Not total fan power not seperated
floor3_dis_T_set | hva_floor3_reaAhu_TSup_set_y
floor3_fan_spe
floor3_mix_T_set
floor3_pressure_set | hva_floor3_reaAhu_dp_sup_y | No dp setpoint but measurement
floor3_valve_pos
floor3_vav1_cooling_set | hva_floor3_reaZonCor_TRoo_Coo_set_y
floor3_vav1_damper_pos | hva_floor3_reaZonCor_yDam_y
floor3_vav1_dis_T | hva_floor3_reaZonCor_TSup_y
floor3_vav1_dis_mflow | hva_floor3_reaZonCor_V_flow_y
floor3_vav1_dis_mflow_ratio
floor3_vav1_flow_set | hva_floor3_reaZonCor_V_flow_set_y
floor3_vav1_heating_set | hva_floor3_reaZonCor_TRoo_Hea_set_y
floor3_vav1_rehea_val_pos | hva_floor3_reaZonCor_yReheaVal_y
floor3_vav2_cooling_set | hva_floor3_reaZonSou_TRoo_Coo_set_y
floor3_vav2_damper_pos | hva_floor3_reaZonSou_yDam_y
floor3_vav2_dis_T | hva_floor3_reaZonSou_TSup_y
floor3_vav2_dis_mflow | hva_floor3_reaZonSou_V_flow_y
floor3_vav2_dis_mflow_ratio
floor3_vav2_flow_set | hva_floor3_reaZonSou_V_flow_set_y
floor3_vav2_heating_set | hva_floor3_reaZonSou_TRoo_Hea_set_y
floor3_vav2_rehea_val_pos | hva_floor3_reaZonSou_yReheaVal_y
floor3_vav3_cooling_set | hva_floor3_reaZonEas_TRoo_Coo_set_y
floor3_vav3_damper_pos | hva_floor3_reaZonEas_yDam_y
floor3_vav3_dis_T | hva_floor3_reaZonEas_TSup_y
floor3_vav3_dis_mflow | hva_floor3_reaZonEas_V_flow_y
floor3_vav3_dis_mflow_ratio
floor3_vav3_flow_set | hva_floor3_reaZonEas_V_flow_set_y
floor3_vav3_heating_set | hva_floor3_reaZonEas_TRoo_Hea_set_y
floor3_vav3_rehea_val_pos | hva_floor3_reaZonEas_yReheaVal_y
floor3_vav4_cooling_set | hva_floor3_reaZonNor_TRoo_Coo_set_y
floor3_vav4_damper_pos | hva_floor3_reaZonNor_yDam_y
floor3_vav4_dis_T | hva_floor3_reaZonNor_TSup_y
floor3_vav4_dis_mflow | hva_floor3_reaZonNor_V_flow_y
floor3_vav4_dis_mflow_ratio
floor3_vav4_flow_set | hva_floor3_reaZonNor_V_flow_set_y
floor3_vav4_heating_set | hva_floor3_reaZonNor_TRoo_Hea_set_y
floor3_vav4_rehea_val_pos | hva_floor3_reaZonNor_yReheaVal_y
floor3_vav5_cooling_set | hva_floor3_reaZonWes_TRoo_Coo_set_y
floor3_vav5_damper_pos | hva_floor3_reaZonWes_yDam_y
floor3_vav5_dis_T | hva_floor3_reaZonWes_TSup_y
floor3_vav5_dis_mflow | hva_floor3_reaZonWes_V_flow_y | Discharge air flowrate in m3/s
floor3_vav5_dis_mflow_ratio |  | No such measurement in wrapped model
floor3_vav5_flow_set | hva_floor3_reaZonWes_V_flow_set_y
floor3_vav5_heating_set | hva_floor3_reaZonWes_TRoo_Hea_set_y
floor3_vav5_rehea_val_pos | hva_floor3_reaZonWes_yReheaVal_y
hot_water_pump_power | hva_reaHotWatSys_reaPPum_y
mCHW | hva_reaChiWatSys_mCHW_tot_y
occ | hva_floor1_reaAhu_occ_y
outdoor_air_temp | loaEPlus_weatherStation_reaWeaTDryBul_y
secondary_chilled_water_pump_power | hva_reaChiWatSys_reaPPum_y | Total pump power (primary + secondary)
time